## Blank Template
Product name (mandatory) | Primary product photo (mandatory) | Customizable? (mandatory) | Description (mandatory) | Product category (mandatory) | Product webpage (optional) | Part number (optional) | Product specification (optional) | Additional product photo 1 (optional) | Additional product photo 2 (optional) | Additional product photo 3 (optional) | Minimum order (optional) | Unit (optional) | Pricing (optional) | Lead time (optional) | Product video url (optional) | Attribute1 name (optional) | Attribute1 value (optional) | Attribute2 name (optional) | Attribute2 value (optional) | Attribute3 name (optional) | Attribute3 value (optional) | Attribute4 name (optional) | Attribute4 value (optional) | Attribute5 name (optional) | Attribute5 value (optional) | Attribute6 name (optional) | Attribute6 value (optional) | Attribute7 name (optional) | Attribute7 value (optional) | Attribute8 name (optional) | Attribute8 value (optional) | Attribute9 name (optional) | Attribute9 value (optional) | Attribute10 name (optional) | Attribute10 value (optional)
Industrial Enclosure, Abox Series, Abox 025 ﻿Polystyrene, – 80 x 80 mm (3.15 x 3.15 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/802-407.jpg | Yes | Abox025 Gray with Terminals; 80x80x52mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 802-407 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-80.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 52 mm (2.05 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 80 mm (3.15 in) | Dimensions mm (in) Width | 80 mm (3.15 in) | Material Termperature Range | Polystyrene -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | 2.5 mm2 - 5 pole
Industrial Enclosure, Abox Series, Abox 025 ﻿Polystyrene, – 80 x 80 mm (3.15 x 3.15 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/802-107.jpg | Yes | Abox025 White with Terminals; 80x80x52mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 802-107 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-80.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 52 mm (2.05 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 80 mm (3.15 in) | Dimensions mm (in) Width | 80 mm (3.15 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | White | Terminal | 2.5 mm2 - 5 pole
Industrial Enclosure, Abox Series, Abox 025 ﻿Polystyrene, – 80 x 80 mm (3.15 x 3.15 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/802-907.jpg | Yes | Abox025 Gray, Empty; 80x80x52mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 802-907 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-80.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 52 mm (2.05 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 80 mm (3.15 in) | Dimensions mm (in) Width | 80 mm (3.15 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | NA
Industrial Enclosure, Abox Series, Abox 025 ﻿Polystyrene, – 80 x 80 mm (3.15 x 3.15 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/802-607.jpg | Yes | Abox025 White, Empty; 80x80x52mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 802-607 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-80.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 52 mm (2.05 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 80 mm (3.15 in) | Dimensions mm (in) Width | 80 mm (3.15 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | White | Terminal | NA
Industrial Enclosure, Abox Series, Abox 025AB ﻿Polystyrene, – 80 x 80 mm (3.15 x 3.15 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/803-407.jpg | Yes | Abox025AB Gray with Terminals; 80x80x52mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 803-407 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-81.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 52 mm (2.05 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 80 mm (3.15 in) | Dimensions mm (in) Width | 80 mm (3.15 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | 2.5 mm2 - 5 pole
Industrial Enclosure, Abox Series, Abox 025AB ﻿Polystyrene, – 80 x 80 mm (3.15 x 3.15 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/803-107.jpg | Yes | Abox025AB White with Terminals; 80x80x52mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 803-107 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-81.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 52 mm (2.05 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 80 mm (3.15 in) | Dimensions mm (in) Width | 80 mm (3.15 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | White | Terminal | 2.5 mm2 - 5 pole
Industrial Enclosure, Abox Series, Abox 025AB ﻿Polystyrene, – 80 x 80 mm (3.15 x 3.15 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/803-907.jpg | Yes | Abox025AB Gray, Empty; 80x80x52mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 803-907 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-81.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 52 mm (2.05 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 80 mm (3.15 in) | Dimensions mm (in) Width | 80 mm (3.15 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | NA
Industrial Enclosure, Abox Series, Abox 040 ﻿Polystyrene, – 93 x 93 mm (3.66 x 3.66 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/804-407.jpg | Yes | Abox040 Gray with Terminals; 93x93x55mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 804-407 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-82.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 55 mm (2.17 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 93 mm (3.66 in) | Dimensions mm (in) Width | 93 mm (3.66 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | 4 mm2 - 5 pole
Industrial Enclosure, Abox Series, Abox 040 ﻿Polystyrene, – 93 x 93 mm (3.66 x 3.66 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/804-107.jpg | Yes | Abox040 White with Terminals; 93x93x55mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 804-107 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-82.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 55 mm (2.17 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 93 mm (3.66 in) | Dimensions mm (in) Width | 93 mm (3.66 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | White | Terminal | 4 mm2 - 5 pole
Industrial Enclosure, Abox Series, Abox 040 ﻿Polystyrene, – 93 x 93 mm (3.66 x 3.66 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/804-907.jpg | Yes | Abox 040, Empty, Gray; 93x93x55mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 804-907 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-82.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 55 mm (2.17 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 93 mm (3.66 in) | Dimensions mm (in) Width | 93 mm (3.66 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | NA
Industrial Enclosure, Abox Series, Abox 040 ﻿Polystyrene, – 93 x 93 mm (3.66 x 3.66 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/804-607.jpg | Yes | Abox040 White, Empty; 93x93x55mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 804-607 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-82.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 3 |  |  |  | Height | 55 mm (2.17 in) | Ordering Information | Enclosure with terminals | Protection Level | IP 65 | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 93 mm (3.66 in) | Dimensions mm (in) Width | 93 mm (3.66 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | White | Terminal | NA
Industrial Enclosure, Abox Series, Abox 060 ﻿Polystyrene, – 110 x 110 mm (4.33 x 4.33 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/806-407.jpg | Yes | Abox060 with Terminals, gray; 110x110x67mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 806-407 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-83.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 2 |  |  |  | Height | 67 mm (2.64 in) | Ordering Information | Enclosure with terminals | Protection Level | IP54* / IP65** | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 110 mm (4.33 in) | Dimensions mm (in) Width | 110 (4.33 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | 6 mm2 - 5 pole
Industrial Enclosure, Abox Series, Abox 060 ﻿Polystyrene, – 110 x 110 mm (4.33 x 4.33 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/806-907.jpg | Yes | Abox060 Empty, gray; 110x110x67mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 806-907 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-83.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 2 |  |  |  | Height | 67 mm (2.64 in) | Ordering Information | Enclosure with terminals | Protection Level | IP54* / IP65** | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 110 mm (4.33 in) | Dimensions mm (in) Width | 110 (4.33 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | NA
Industrial Enclosure, Abox Series, Abox 100 ﻿Polystyrene, – 140 x 140 mm (5.51 x 5.51 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/810-410.jpg | Yes | Abox100 with terminals, gray, 140x140x79mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 810-410 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-84.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 2 |  |  |  | Height | 79 mm (3.11 in) | Ordering Information | Enclosure with terminals | Protection Level | IP54* / IP65** | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 140 mm (5.51 in) | Dimensions mm (in) Width | 140 mm (5.51 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | 10 mm2 - 5pole
Industrial Enclosure, Abox Series, Abox 100 ﻿Polystyrene, – 140 x 140 mm (5.51 x 5.51 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/810-910.jpg | Yes | Abox100 Empty, gray; 140x140x79mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 810-910 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-84.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 2 |  |  |  | Height | 79 mm (3.11 in) | Ordering Information | Enclosure with terminals | Protection Level | IP54* / IP65** | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 140 mm (5.51 in) | Dimensions mm (in) Width | 140 mm (5.51 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | NA
Industrial Enclosure, Abox Series, Abox 160 ﻿Polystyrene, – 180 x 180 mm (7.09 x 7.09 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/816-410.jpg | Yes | Abox160 with Terminals, gray, 180x180x91mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 816-410 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-85.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 1 |  |  |  | Height | 91 mm (3.58 in) | Ordering Information | Enclosure with terminals | Protection Level | IP54* / IP65** | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 180 mm (7.09 in) | Dimensions mm (in) Width | 180 mm (7.09 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | 16/25 mm2 - 5 pole
Industrial Enclosure, Abox Series, Abox 160 ﻿Polystyrene, – 180 x 180 mm (7.09 x 7.09 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/816-910.jpg | Yes | Abox160 Empty, gray; 180x180x91mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 816-910 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-85.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 1 |  |  |  | Height | 92 mm (3.58 in) | Ordering Information | Enclosure with terminals | Protection Level | IP54* / IP65** | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 180 mm (7.09 in) | Dimensions mm (in) Width | 180 mm (7.09 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | NA
Industrial Enclosure, Abox Series, Abox 350 ﻿Polystyrene, – 250 x 250 mm (9.84 x 9.84 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/835-410.jpg | Yes | Abox350 with Terminals, gray; 250x250x115mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 835-410 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-86.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 1 |  |  |  | Height | 115 mm (4.53 in) | Ordering Information | Enclosure with terminals | Protection Level | IP54* / IP65** | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 250 mm (9.84 in) | Dimensions mm (in) Width | 250 mm (9.84 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | 35/25 mm2 - 5 pole
Industrial Enclosure, Abox Series, Abox 350 ﻿Polystyrene, – 250 x 250 mm (9.84 x 9.84 in.) | http://www.altechcorp.com/GoogleAssets/ENCLOSURES/835-910.jpg | Yes | Abox350 Empty, gray, 250x250x115mm, Enclosure | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | 835-910 | http://www.altechcorp.com/PDFS/Splits/indEnclo2011-86.pdf | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg |  |  |  | STD Pack 1 |  |  |  | Height | 115 mm (4.53 in) | Ordering Information | Enclosure with terminals | Protection Level | IP54* / IP65** | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length | 250 mm (9.84 in) | Dimensions mm (in) Width | 250 mm (9.84 in) | Material Termperature Range | Polystyrene, -25°C to 70°C (-13°F to 158°F) | Color | Gray | Terminal | NA
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
| http://www.altechcorp.com/GoogleAssets/ENCLOSURES/ | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Busbars-A.html | [10 empty] | Height |  | Ordering Information | Enclosure with terminals | Protection Level |  | Enclosure Material | Polystyrene | Gasket Material | Polyurethane | Length |  | Dimensions mm (in) Width |  | Material Termperature Range |  | Color
Material Termperature Range
| http://www.altechcorp.com/GoogleAssets/EnclosureTBD.jpg | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components |  |  |  | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg | [7 empty] | Height
| http://www.altechcorp.com/GoogleAssets/EnclosureTBD.jpg | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components |  |  |  | http://www.altechcorp.com/GoogleAssets/EnclosureDrawings1.jpg
| http://www.altechcorp.com/GoogleAssets/EnclosureTBD.jpg | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components
| http://www.altechcorp.com/GoogleAssets/EnclosureTBD.jpg | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components
| http://www.altechcorp.com/GoogleAssets/EnclosureTBD.jpg | Yes |  | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components

## Category
Category Name
Electronics & Electrical
/Electronics & Electrical/Electrical Wires, Cables & Accessories
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Clamps
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Harnesses & Assemblies
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Ties
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Conduits
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Insulation
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Wire
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cords
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Wire Ducting
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Entry Modules & Connectors
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Communication Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Fiber Optic Cables
/Electronics & Electrical/Electronic Components & Devices
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Control Panels
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Motor Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Automation Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Logic Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Variable Frequency Drives
/Electronics & Electrical/Electronic Components & Devices/Electrical Capacitors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Distribution Boxes
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Entry Modules & Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Plugs & Sockets
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Terminal Blocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Motors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Fuses & Fuseblocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Potentiometers & Rheostats
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Circuit Breakers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Contactors
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Relays
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electronic Multiplexers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Optoelectronic Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Automotive Relays & Switches
/Electronics & Electrical/Electronic Components & Devices/Electron Tubes
/Electronics & Electrical/Electronic Components & Devices/Electronic Amplifiers
/Electronics & Electrical/Electronic Components & Devices/Electronic Attenuators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Decoders & Encoders
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Filters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Oscillators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Pressure Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Temperature Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Integrated Circuits & Chips
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Microcontrollers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Hall Effect Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Proximity Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Fiber Optic Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Stud Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Pressure Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Temperature Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Transformers
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Electronics Cooling Fans
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Heat Sinks
/Electronics & Electrical/Electronic Components & Devices/Inductors
/Electronics & Electrical/Electronic Components & Devices/Power Dividers & Splitters
/Electronics & Electrical/Electronic Components & Devices/Printed Circuit Boards
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Diodes
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Thyristors
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Transistors
/Electronics & Electrical/Electronic Components & Devices/Transceivers
/Electronics & Electrical/Electronic Consoles & Enclosures
/Electronics & Electrical/Electronic Consoles & Enclosures/Electronics Racks & Cabinet Racks
/Electronics & Electrical/Electronic Consoles & Enclosures/Junction Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Panel Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Switch Boxes
/Electronics & Electrical/Electronics Assembly & Production Machinery
/Electronics & Electrical/Generators & Alternators
/Electronics & Electrical/Generators & Alternators/Diesel Generators
/Electronics & Electrical/Generators & Alternators/Gasoline Generators
/Electronics & Electrical/Generators & Alternators/Generator Parts
/Electronics & Electrical/Generators & Alternators/Hydraulic Generators
/Electronics & Electrical/Generators & Alternators/Inverter Generators
/Electronics & Electrical/Generators & Alternators/Solar Generators
/Electronics & Electrical/Optoelectronics
/Electronics & Electrical/Optoelectronics/Opto-isolators & Couplers
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LCD Modules
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LED Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Switches
/Electronics & Electrical/Power Supplies & Accessories
/Electronics & Electrical/Power Supplies & Accessories/Inductors
/Electronics & Electrical/Power Supplies & Accessories/AC-DC Adapters
/Electronics & Electrical/Power Supplies & Accessories/Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Battery Packs
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Button Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Primary Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Rechargeable Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Solar Batteries
/Electronics & Electrical/Power Supplies & Accessories/Battery Chargers
/Electronics & Electrical/Power Supplies & Accessories/Fuel Cells
/Electronics & Electrical/Power Supplies & Accessories/Power Converters & Inverters
/Electronics & Electrical/Electronic & Electrical Test & Measurement
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Battery Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Breadboards
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Cable Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/EMF Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Electrical Current Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Frequency Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/LCR, Capacitance & Resistance Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Leak Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Metal Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Multimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Oscilloscopes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Power Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Radiation Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Rebar Locators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Signal & Pulse Generators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Sound Level Meters & Noise Dosimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Spectrum Analyzers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Stud Sensors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Test Probes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Voltage Testers
Note on C1: updated Dec 29th 2012