## Blank Template
Product name (mandatory) | Primary product photo (mandatory) | Customizable? (mandatory) | Description (mandatory) | Product category (mandatory) | Product webpage (optional) | Part number (optional) | Product specification (optional) | Additional product photo 1 (optional) | Additional product photo 2 (optional) | Additional product photo 3 (optional) | Minimum order (optional) | Unit (optional) | Pricing (optional) | Lead time (optional) | Product video url (optional) | Attribute1 name (optional) | Attribute1 name (optional) | Attribute2 name (optional) | Attribute2 value (optional) | Attribute3 name (optional) | Attribute3 value (optional) | Attribute4 name (optional) | Attribute4 value (optional) | Attribute5 name (optional) | Attribute5 value (optional) | Attribute6 name (optional) | Attribute6 value (optional) | Attribute7 name (optional) | Attribute7 value (optional) | Attribute8 name (optional) | Attribute8 value (optional) | Attribute9 name (optional) | Attribute9 value (optional) | Attribute10 name (optional) | Attribute10 value (optional)
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC2403-05 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24V DC +/-20% | Output Voltage in Buffer-Operation | 23V +/- 2% | Nominal Output Current | 3A | Switch Off When Overload | yes | Current Limitation | 1,05…1,2 x INenn | Type of Protection | IP 20 | Weight | 0,5kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 93x60x116
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC2403-1 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24V DC +/-20% | Output Voltage in Buffer-Operation | 23V +/- 2% | Nominal Output Current | 3A | Switch Off When Overload | yes | Current Limitation | 1,05…1,2 x INenn | Type of Protection | IP 20 | Weight | 058kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 93x60x116
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC2420-8 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24V DC | Output Voltage in Buffer-Operation | 23.2V | Nominal Output Current | 20A | Switch Off When Overload | no | Current Limitation | NA | Type of Protection | IP 20 | Weight | 2.2kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 93x60x116
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC1203-1 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 12V DC +/- 20% | Output Voltage in Buffer-Operation | 11.5V +/- 2% | Nominal Output Current | 3A | Switch Off When Overload | yes | Current Limitation | 1,05…1,2 x INenn | Type of Protection | IP 20 | Weight | 0,55kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 93x60x116
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC2405-5 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24 / 12V DC | Output Voltage in Buffer-Operation | 23,5V / 11,7V | Nominal Output Current | 5A | Switch Off When Overload | after 1,5 sec | Current Limitation | NA | Type of Protection | IP 20 | Weight | 1,7kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 165x114x145
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC1205-5 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24 / 12V DC | Output Voltage in Buffer-Operation | 23,5V / 11,7V | Nominal Output Current | 5A | Switch Off When Overload | after 1,5 sec | Current Limitation | NA | Type of Protection | IP 20 | Weight | 1,7kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 165x114x145
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC2408-20 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24 / 12V DC | Output Voltage in Buffer-Operation | 23,5V / 11,7V | Nominal Output Current | 8A | Switch Off When Overload | after 1,5 sec | Current Limitation | NA | Type of Protection | IP 20 | Weight | 3,5kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 164x184x145
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC1208-20 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24 / 12V DC | Output Voltage in Buffer-Operation | 23,5V / 11,7V | Nominal Output Current | 8A | Switch Off When Overload | after 1,5 sec | Current Limitation | NA | Type of Protection | IP 20 | Weight | 3,5kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 164x184x145
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC2410-1 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24 / 12V DC | Output Voltage in Buffer-Operation | 23,5V / 11,7V | Nominal Output Current | 10A | Switch Off When Overload | after 1,5 sec | Current Limitation | 1,05…1,2 x Inenn | Type of Protection | IP 20 | Weight | 1,2kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 165x70x138
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC1210-1 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24 / 12V DC | Output Voltage in Buffer-Operation | 23,5V / 11,7V | Nominal Output Current | 10A | Switch Off When Overload | after 1,5 sec | Current Limitation | 1,05…1,2 x Inenn | Type of Protection | IP 20 | Weight | 1,2kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 165x70x138
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC2410-10 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24 / 12V DC | Output Voltage in Buffer-Operation | 23,5V / 11,7V | Nominal Output Current | 10A | Switch Off When Overload | after 1,5 sec | Current Limitation | NA | Type of Protection | IP 20 | Weight | 2,1kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 165x114x145
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/C-TEC.jpg | No | Ultra-Capacitor Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC1210-10 | http://www.altechcorp.com/PDFS/Splits/power8.pdf | [8 empty] | Nominal Input Voltage | 24 / 12V DC | Output Voltage in Buffer-Operation | 23,5V / 11,7V | Nominal Output Current | 10A | Switch Off When Overload | after 1,5 sec | Current Limitation | NA | Type of Protection | IP 20 | Weight | 2,1kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 165x114x145
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/AKKUTEC2402.jpg | No | Ultra-Capacitor Modules, AC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AC-TEC2403-1 | http://www.altechcorp.com/PDFS/Splits/power9.pdf | [8 empty] | Nominal Input Voltage | 115-230V AC | Output Voltage in Buffer-Operation | 23,5V | Nominal Output Current | 3A | Switch Off When Overload | NA | Current Limitation | 1,05…1,2 x Inenn | Type of Protection | IP 20 | Weight | 0,9kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 153x72x130
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/AKKUTEC2402.jpg | No | Ultra-Capacitor Modules, AC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AC-TEC1203-1 | http://www.altechcorp.com/PDFS/Splits/power9.pdf | [8 empty] | Nominal Input Voltage | 115-230V AC | Output Voltage in Buffer-Operation | 11,5V | Nominal Output Current | 3A | Switch Off When Overload | NA | Current Limitation | 1,05…1,2 x Inenn | Type of Protection | IP 20 | Weight | 0,86kg | Storage Temperature | -40/+60 C | Enviromental Temperature | -40/+60 C | Dimensions in mm | 153x72x130
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/AKKUTEC2402.jpg | No | Ultra-Capacitor Modules, AC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AC-TEC2410-10 | http://www.altechcorp.com/PDFS/Splits/power9.pdf | [8 empty] | Nominal Input Voltage | 100 - 240V AC | Output Voltage in Buffer-Operation | 23,5V | Nominal Output Current | 10A | Switch Off When Overload | NA | Current Limitation | 1,05…1,2 x Inenn | Type of Protection | IP 20 | Weight | 3,0kg | Storage Temperature | -40/ +70C | Enviromental Temperature | -25/+60C | Dimensions in mm | 165x184x145
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/AKKUTEC2402.jpg | No | Ultra-Capacitor Modules, AC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AC-TEC2420-8 | http://www.altechcorp.com/PDFS/Splits/power9.pdf | [8 empty] | Nominal Input Voltage | 3x 400 -500V AC | Output Voltage in Buffer-Operation | 23,0V | Nominal Output Current | 20A | Switch Off When Overload | NA | Current Limitation | 1,05…1,2 x Inenn | Type of Protection | IP 20 | Weight | 3,5kg | Storage Temperature | -40/ +70C | Enviromental Temperature | -25/+60C | Dimensions in mm | 192x170x198
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/AKKUTEC2402.jpg | No | Ultra-Capcitor and Extension Modules, with DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC2425 P | http://www.altechcorp.com/PDFS/Splits/power10.pdf | [8 empty] | Nominal Input Voltage | 24V DC +/- 10% | Output Voltage (in mains operation) | 24,5 -19V DC | Output Voltage (in back-up operation) | 24,5 - 19V DC | Max.Nominal Output Current | 25A | Min. charging voltage | 22V DC | Max. nominal current (input) | 28A | Energy | 1,2kJ | Efficiency | >90% | Dimensions (mm) | 125x65x135 | Weight | 0,75kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/AKKUTEC2440.jpg | No | Ultra-Capcitor and Extension Modules, with DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | C-TEC2440 P | http://www.altechcorp.com/PDFS/Splits/power10.pdf | [8 empty] | Nominal Input Voltage | 24V DC +/-20% | Output Voltage (in mains operation) | 25,5 -19V DC | Output Voltage (in back-up operation) | 25,5 - 19V DC | Max.Nominal Output Current | 40A | Min. charging voltage | 23V DC | Max. nominal current (input) | 40A | Energy | 4kJ | Efficiency | >90% | Dimensions (mm) | 188x84x194 | Weight | 2,0kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | Ultra-Capcitor and Extension Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | CEM-1 | http://www.altechcorp.com/PDFS/Splits/power10.pdf | [8 empty] | Nominal Input Voltage | 24V DC | Nominal Output Current | 3A DC | Protection | 3 AT | Type of Protection | IP20 | Dimensions in mm | 92,5x60x116 | Weight | 0,52kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | Ultra-Capcitor and Extension Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | CEM-2 | http://www.altechcorp.com/PDFS/Splits/power10.pdf | [8 empty] | Nominal Input Voltage | 24V DC | Nominal Output Current | 3A DC | Protection | 3 AT | Type of Protection | IP20 | Dimensions in mm | 92,5x60x116 | Weight | 0,65kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | Ultra-Capcitor and Extension Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | CEM-8 | http://www.altechcorp.com/PDFS/Splits/power10.pdf | [8 empty] | Nominal Input Voltage | 24V DC | Nominal Output Current | 20A DC | Protection | Internal | Type of Protection | IP20 | Dimensions in mm | 192x84x192 | Weight | 1,85kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | Ultra-Capcitor and Extension Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | CEM-16 | http://www.altechcorp.com/PDFS/Splits/power10.pdf | [8 empty] | Nominal Input Voltage | 24V DC | Nominal Output Current | 20A DC | Protection | Internal | Type of Protection | IP20 | Dimensions in mm | 192x84x192 | Weight | 2.54kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | Ultra-Capcitor and Extension Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | CEM12-1 | http://www.altechcorp.com/PDFS/Splits/power10.pdf | [8 empty] | Nominal Input Voltage | 12V DC | Nominal Output Current | 3A DC | Protection | 3 AT | Type of Protection | IP20 | Dimensions in mm | 92,5x60x116 | Weight | 0,52kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | Ultra-Capcitor and Extension Modules, DC Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | CEM12-2 | http://www.altechcorp.com/PDFS/Splits/power10.pdf | [8 empty] | Nominal Input Voltage | 12V DC | Nominal Output Current | 3A DC | Protection | 3 AT | Type of Protection | IP20 | Dimensions in mm | 92,5x60x116 | Weight | 0,65kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Single, Two and Three Phase Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC2402 | http://www.altechcorp.com/PDFS/Splits/power12.pdf | [8 empty] | Rated Vloltage Range | 115-230V AC +/- 15% | Mains Frequency | 47…63 Hz | Rated Voltage | 24V DC | At Battery Operation | 26,8…19,8V DC | Final Charging Voltage | 26,8V DC +/- 0,4% | Max. Load Current | 2A | Max. Charg. Current | 2,1A | Type of Protection | IP 20 | Weight approx. | 0,55kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Single, Two and Three Phase Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC2405 | http://www.altechcorp.com/PDFS/Splits/power12.pdf | [8 empty] | Rated Vloltage Range | 115-230V AC +/- 15% | Mains Frequency | 47…63 Hz | Rated Voltage | 24V DC | At Battery Operation | 26,8…19,8V DC | Final Charging Voltage | 26,8V DC +/- 0,4% | Max. Load Current | 5A | Max. Charg. Current | 5,5A | Type of Protection | IP 20 | Weight approx. | 1,26kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Single, Two and Three Phase Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC2410-0 | http://www.altechcorp.com/PDFS/Splits/power12.pdf | [8 empty] | Rated Vloltage Range | 230V AC -15%/+10% | Mains Frequency | 47…63 Hz | Rated Voltage | 24V DC | At Battery Operation | 26,8…19,8V DC | Final Charging Voltage | 26,8V DC +/- 0,4% | Max. Load Current | 10A | Max. Charg. Current | 11A | Type of Protection | IP 20 | Weight approx. | 1,6kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Single, Two and Three Phase Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC2412 VdS | http://www.altechcorp.com/PDFS/Splits/power12.pdf | [8 empty] | Rated Vloltage Range | 230V AC +/- 15% | Mains Frequency | 47…63 Hz | Rated Voltage | 24V DC | At Battery Operation | 28,62…21,60V DC | Final Charging Voltage | 27,4VDC +/-0,4% | Max. Load Current | 12A | Max. Charg. Current | 12A | Type of Protection | IP 20 | Weight approx. | 1,56kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Single, Two and Three Phase Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC2420 | http://www.altechcorp.com/PDFS/Splits/power12.pdf | [8 empty] | Rated Vloltage Range | 230V AC -15%/+10% | Mains Frequency | 47…63 Hz | Rated Voltage | 24V DC | At Battery Operation | 26,8…19,8V DC | Final Charging Voltage | 26,8V DC +/-0,4% | Max. Load Current | 20A | Max. Charg. Current | 22A | Type of Protection | IP 20 | Weight approx. | 2,87kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Single, Two and Three Phase Input | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC2440 | http://www.altechcorp.com/PDFS/Splits/power12.pdf | [8 empty] | Rated Vloltage Range | 3 x400-500V AC +/-10% | Mains Frequency | 45…63 Hz | Rated Voltage | 24V DC | At Battery Operation | 26,8…19,8V DC | Final Charging Voltage | 26,8V DC +/- 0,4% | Max. Load Current | 40A | Max. Charg. Current | 44A | Type of Protection | IP 20 | Weight approx. | 3,6kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Output 12V | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC1203 | http://www.altechcorp.com/PDFS/Splits/power14.pdf | [8 empty] | Rated Vloltage Range | 115 - 230V AC +/- 15% | Mains Frequency | 47…63 Hz | Rated Voltage | 12V DC | At Battery Operation | 13.2…9,9V DC | Final Charging Voltage | 13,2V +/- 0,4% | Max. Load Current | 2,85A | Max. Charg. Current | 2,85A | Type of Protection | IP 20 | Weight approx. | 0,35kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Output 12V | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC1208 | http://www.altechcorp.com/PDFS/Splits/power14.pdf | [8 empty] | Rated Vloltage Range | 115 - 230V AC +/- 15% | Mains Frequency | 47…63 Hz | Rated Voltage | 12V DC | At Battery Operation | 13.2…9,9V DC | Final Charging Voltage | 13,2V +/- 0,4% | Max. Load Current | 8A | Max. Charg. Current | 8A | Type of Protection | IP 20 | Weight approx. | 1,1kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Output 12V | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC1210 | http://www.altechcorp.com/PDFS/Splits/power14.pdf | [8 empty] | Rated Vloltage Range | 115 -230V AC -15/+10% | Mains Frequency | 47…63 Hz | Rated Voltage | 12V DC | At Battery Operation | 13.2…9,9V DC | Final Charging Voltage | 13,2V +/- 0,4% | Max. Load Current | 10A | Max. Charg. Current | 10A | Type of Protection | IP 20 | Weight approx. | 1,6kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ | No | DC-UPS Battery Back-up Modules Output 48V | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | AKKUTEC4801 | http://www.altechcorp.com/PDFS/Splits/power14.pdf | [8 empty] | Rated Vloltage Range | 115-230V AC +/- 15% | Mains Frequency | 47…63 Hz | Rated Voltage | 48V DC | At Battery Operation | 52,8…39,6V DC | Final Charging Voltage | 52,8V +/- 0,4% | Max. Load Current | 1A | Max. Charg. Current | 1A | Type of Protection | IP 20 | Weight approx. | 0,35kg
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ACCESORIES.jpg | No | Accessories for TEC Control Software Decoupling Module | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | 59610.1 | http://www.altechcorp.com/PDFS/Splits/power16.pdf | [8 empty] | Type | KGEK002S003M92 | Limiting average on state current at 45C [A] | 2x25 A | Increase Voltage Diiode [V] | 100 V | Height [mm] | 75 | Width [mm] | 40 | Depth [mm] | 90
DC-UPS Ultra-Capacitor Back-up Systems | http://www.altechcorp.com/GoogleAssets/DC-UPS-Ultra/ACCESORIES.jpg | No | Accessories for TEC Control Software Decoupling Module | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/power | 59610.2 | http://www.altechcorp.com/PDFS/Splits/power16.pdf | [8 empty] | Type | KGEK006S001M92 | Limiting average on state current at 45C [A] | 2x50 A | Increase Voltage Diiode [V] | 45 V | Height [mm] | 100 | Width [mm] | 80 | Depth [mm] | 110

## Category
Category Name
Electronics & Electrical
/Electronics & Electrical/Electrical Wires, Cables & Accessories
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Clamps
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Harnesses & Assemblies
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Ties
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Conduits
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Insulation
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Wire
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cords
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Wire Ducting
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Entry Modules & Connectors
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Communication Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Fiber Optic Cables
/Electronics & Electrical/Electronic Components & Devices
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Control Panels
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Motor Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Automation Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Logic Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Variable Frequency Drives
/Electronics & Electrical/Electronic Components & Devices/Electrical Capacitors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Distribution Boxes
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Entry Modules & Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Plugs & Sockets
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Terminal Blocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Motors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Fuses & Fuseblocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Potentiometers & Rheostats
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Circuit Breakers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Contactors
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Relays
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electronic Multiplexers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Optoelectronic Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Automotive Relays & Switches
/Electronics & Electrical/Electronic Components & Devices/Electron Tubes
/Electronics & Electrical/Electronic Components & Devices/Electronic Amplifiers
/Electronics & Electrical/Electronic Components & Devices/Electronic Attenuators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Decoders & Encoders
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Filters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Oscillators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Pressure Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Temperature Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Integrated Circuits & Chips
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Microcontrollers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Hall Effect Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Proximity Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Fiber Optic Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Stud Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Pressure Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Temperature Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Transformers
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Electronics Cooling Fans
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Heat Sinks
/Electronics & Electrical/Electronic Components & Devices/Inductors
/Electronics & Electrical/Electronic Components & Devices/Power Dividers & Splitters
/Electronics & Electrical/Electronic Components & Devices/Printed Circuit Boards
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Diodes
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Thyristors
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Transistors
/Electronics & Electrical/Electronic Components & Devices/Transceivers
/Electronics & Electrical/Electronic Consoles & Enclosures
/Electronics & Electrical/Electronic Consoles & Enclosures/Electronics Racks & Cabinet Racks
/Electronics & Electrical/Electronic Consoles & Enclosures/Junction Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Panel Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Switch Boxes
/Electronics & Electrical/Electronics Assembly & Production Machinery
/Electronics & Electrical/Generators & Alternators
/Electronics & Electrical/Generators & Alternators/Diesel Generators
/Electronics & Electrical/Generators & Alternators/Gasoline Generators
/Electronics & Electrical/Generators & Alternators/Generator Parts
/Electronics & Electrical/Generators & Alternators/Hydraulic Generators
/Electronics & Electrical/Generators & Alternators/Inverter Generators
/Electronics & Electrical/Generators & Alternators/Solar Generators
/Electronics & Electrical/Optoelectronics
/Electronics & Electrical/Optoelectronics/Opto-isolators & Couplers
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LCD Modules
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LED Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Switches
/Electronics & Electrical/Power Supplies & Accessories
/Electronics & Electrical/Power Supplies & Accessories/Inductors
/Electronics & Electrical/Power Supplies & Accessories/AC-DC Adapters
/Electronics & Electrical/Power Supplies & Accessories/Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Battery Packs
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Button Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Primary Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Rechargeable Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Solar Batteries
/Electronics & Electrical/Power Supplies & Accessories/Battery Chargers
/Electronics & Electrical/Power Supplies & Accessories/Fuel Cells
/Electronics & Electrical/Power Supplies & Accessories/Power Converters & Inverters
/Electronics & Electrical/Electronic & Electrical Test & Measurement
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Battery Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Breadboards
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Cable Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/EMF Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Electrical Current Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Frequency Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/LCR, Capacitance & Resistance Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Leak Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Metal Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Multimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Oscilloscopes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Power Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Radiation Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Rebar Locators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Signal & Pulse Generators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Sound Level Meters & Noise Dosimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Spectrum Analyzers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Stud Sensors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Test Probes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Voltage Testers
Note on C1: updated Dec 29th 2012