## Blank Template
Product name (mandatory) | Primary product photo (mandatory) | Customizable? (mandatory) | Description (mandatory) | Product category (mandatory) | Product webpage (optional) | Part number (optional) | Product specification (optional) | Additional product photo 1 (optional) | Additional product photo 2 (optional) | Additional product photo 3 (optional) | Minimum order (optional) | Unit (optional) | Pricing (optional) | Lead time (optional) | Product video url (optional) | Attribute1 name (optional) | Attribute1 value (optional) | Attribute2 name (optional) | Attribute2 value (optional) | Attribute3 name (optional) | Attribute3 value (optional) | Attribute4 name (optional) | Attribute4 value (optional) | Attribute5 name (optional) | Attribute5 value (optional) | Attribute6 name (optional) | Attribute6 value (optional) | Attribute7 name (optional) | Attribute7 value (optional) | Attribute8 name (optional) | Attribute8 value (optional) | Attribute9 name (optional) | Attribute9 value (optional) | Attribute10 name (optional) | Attribute10 value (optional)
LED Panel Light APL-Series | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-M120ACLS.jpg | NO | LED Panel Light APL-Series, Attachment Method-Magnet | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-M120ACLS | http://www.altechcorp.com/PDFS/Splits/panel_accessories1.pdf | http://www.altechcorp.com/GoogleAssets/APL-M120ACLS(drawing).jpg | [7 empty] | Operating Voltage | 100-240VAC, 50/60Hz (min. 90VAC, max. 265VAC) | Switch Type | on/off switch | Weight | 7oz (.44lbs) | Power Consumption | Max. 5W | Luminosity | 290Lm at 120° / 870Lm at 360° (equals 75W light bulb) | LED Type | Angle of radiation 120°, light color: daylight, color temperature: 8,500k | AC | Max. 2.5A / 240VAC, color: white connector | DC | Max. 2.5A / 60VDC, color: blue connector | Protection Type / Class | IP 20
LED Panel Light APL-Series | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-M24DCLS.jpg | NO | LED Panel Light APL-Series, Attachment Method-Magnet | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-M24DCLS | http://www.altechcorp.com/PDFS/Splits/panel_accessories1.pdf | http://www.altechcorp.com/GoogleAssets/APL-M24DCLS(drawing).jpg | [7 empty] | Operating Voltage | 24-48VDC (min. 20VDC, max. 265VAC) | Switch Type | on/off switch | Weight | 7oz (.44lbs) | Power Consumption | Max. 5W | Luminosity | 290Lm at 120° / 870Lm at 360° (equals 75W light bulb) | LED Type | Angle of radiation 120°, light color: daylight, color temperature: 8,500k | AC | Max. 2.5A / 240VAC, color: white connector | DC | Max. 2.5A / 60VDC, color: blue connector | Protection Type / Class | IP 20
LED Panel Light APL-Series | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-M120ACMS.jpg | NO | LED Panel Light APL-Series, Attachment Method-Magnet | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-M120ACMS | http://www.altechcorp.com/PDFS/Splits/panel_accessories1.pdf | http://www.altechcorp.com/GoogleAssets/APL-M120ACMS(drawing).jpg | [7 empty] | Operating Voltage | 100-240VAC, 50/60Hz (min. 90VAC, max. 265VAC) | Switch Type | motion sensor | Weight | 7oz (.44lbs) | Power Consumption | Max. 5W | Luminosity | 290Lm at 120° / 870Lm at 360° (equals 75W light bulb) | LED Type | Angle of radiation 120°, light color: daylight, color temperature: 8,500k | AC | Max. 2.5A / 240VAC, color: white connector | DC | Max. 2.5A / 60VDC, color: blue connector | Protection Type / Class | IP 20
LED Panel Light APL-Series | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-M24DCMS.jpg | NO | LED Panel Light APL-Series, Attachment Method-Magnet | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-M24DCMS | http://www.altechcorp.com/PDFS/Splits/panel_accessories1.pdf | http://www.altechcorp.com/GoogleAssets/APL-M24DCMS(drawing).jpg | [7 empty] | Operating Voltage | 24-48VDC (min. 20VDC, max. 265VAC) | Switch Type | motion sensor | Weight | 7oz (.44lbs) | Power Consumption | Max. 5W | Luminosity | 290Lm at 120° / 870Lm at 360° (equals 75W light bulb) | LED Type | Angle of radiation 120°, light color: daylight, color temperature: 8,500k | AC | Max. 2.5A / 240VAC, color: white connector | DC | Max. 2.5A / 60VDC, color: blue connector | Protection Type / Class | IP 20
LED Panel Light APL-Series | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-S120ACLS.jpg | NO | LED Panel Light APL-Series, Attachment Method-Screw | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-S120ACLS | http://www.altechcorp.com/PDFS/Splits/panel_accessories1.pdf | http://www.altechcorp.com/GoogleAssets/APL-S120ACLS(drawing).jpg | [7 empty] | Operating Voltage | 100-240VAC, 50/60Hz (min. 90VAC, max. 265VAC) | Switch Type | on/off switch | Weight | 7oz (.44lbs) | Power Consumption | Max. 5W | Luminosity | 290Lm at 120° / 870Lm at 360° (equals 75W light bulb) | LED Type | Angle of radiation 120°, light color: daylight, color temperature: 8,500k | AC | Max. 2.5A / 240VAC, color: white connector | DC | Max. 2.5A / 60VDC, color: blue connector | Protection Type / Class | IP 20
LED Panel Light APL-Series | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-S24DCLS.jpg | NO | LED Panel Light APL-Series, Attachment Method-Screw | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-S24DCLS | http://www.altechcorp.com/PDFS/Splits/panel_accessories1.pdf | http://www.altechcorp.com/GoogleAssets/APL-S24DCLS(drawing).jpg | [7 empty] | Operating Voltage | 24-48VDC (min. 20VDC, max. 265VAC) | Switch Type | on/ switch | Weight | 7oz (.44lbs) | Power Consumption | Max. 5W | Luminosity | 290Lm at 120° / 870Lm at 360° (equals 75W light bulb) | LED Type | Angle of radiation 120°, light color: daylight, color temperature: 8,500k | AC | Max. 2.5A / 240VAC, color: white connector | DC | Max. 2.5A / 60VDC, color: blue connector | Protection Type / Class | IP 20
LED Panel Light APL-Series | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-S120ACMS.jpg | NO | LED Panel Light APL-Series, Attachment Method-Screw | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-S120ACMS | http://www.altechcorp.com/PDFS/Splits/panel_accessories1.pdf | http://www.altechcorp.com/GoogleAssets/APL-S120ACMS(drawing).jpg | [7 empty] | Operating Voltage | 100-240VAC, 50/60Hz (min. 90VAC, max. 265VAC) | Switch Type | motion sensor | Weight | 7oz (.44lbs) | Power Consumption | Max. 5W | Luminosity | 290Lm at 120° / 870Lm at 360° (equals 75W light bulb) | LED Type | Angle of radiation 120°, light color: daylight, color temperature: 8,500k | AC | Max. 2.5A / 240VAC, color: white connector | DC | Max. 2.5A / 60VDC, color: blue connector | Protection Type / Class | IP 20
LED Panel Light APL-Series | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-S24DCMS.jpg | NO | LED Panel Light APL-Series, Attachment Method-Screw | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-S24DCMS | http://www.altechcorp.com/PDFS/Splits/panel_accessories1.pdf | http://www.altechcorp.com/GoogleAssets/APL-S24DCMS(drawing).jpg | [7 empty] | Operating Voltage | 24-48VDC (min. 20VDC, max. 265VAC) | Switch Type | motion sensor | Weight | 7oz (.44lbs) | Power Consumption | Max. 5W | Luminosity | 290Lm at 120° / 870Lm at 360° (equals 75W light bulb) | LED Type | Angle of radiation 120°, light color: daylight, color temperature: 8,500k | AC | Max. 2.5A / 240VAC, color: white connector | DC | Max. 2.5A / 60VDC, color: blue connector | Protection Type / Class | IP 20
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-PCAC.jpg | NO | Power cable with female connector | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-PCAC | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Length | 6.5 ft. | Volt Type | AC | Color | Connector: white; Cable: white
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-PCDC.jpg | NO | Power cable with female connector | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-PCDC | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Length | 6.5 ft. | Volt Type | DC | Color | Connector: blue; Cable: white
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-ECAC.jpg | NO | Extension cable with 2 connector for daisy chain | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-ECAC | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Length | 3.3 ft. | Volt Type | AC | Color | Connector: white; Cable: white
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-ECDC.jpg | NO | Extension cable with 2 connector for daisy chain | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-ECDC | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Length | 3.3 ft. | Volt Type | DC | Color | Connector: blue; Cable: white
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-FAC.jpg | NO | Female / Male Connectors | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-FAC | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Connector Type | Female | Volt. Type | AC | Color | White
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-MAC.jpg | NO | Female / Male Connectors | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-MAC | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Connector Type | Male | Volt. Type | AC | Color | White
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-FDC.jpg | NO | Female / Male Connectors | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-FDC | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Connector Type | Female | Volt. Type | DC | Color | Blue
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-MDC.jpg | NO | Female / Male Connectors | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-MDC | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Connector Type | Male | Volt. Type | DC | Color | Blue
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-DS.jpg | NO | Door Limit Switch | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-DS | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Contact | NO / NC | Voltage Rating | 24-250 VAC/DC
Lighting Accessories | http://www.altechcorp.com/GoogleAssets/PANELLIGHT/APL-SL.jpg | NO | Door Limit Switch | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/panel/ | APL-SL | http://www.altechcorp.com/PDFS/Splits/panel_accessories4.pdf | [8 empty] | Contact | Slide limit switch (Bar mounhting) | Voltage Rating | Slide liit switch (Bar mounting)

## Category
Category Name
Electronics & Electrical
/Electronics & Electrical/Electrical Wires, Cables & Accessories
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Clamps
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Harnesses & Assemblies
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Ties
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Conduits
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Insulation
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Wire
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cords
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Wire Ducting
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Entry Modules & Connectors
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Communication Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Fiber Optic Cables
/Electronics & Electrical/Electronic Components & Devices
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Control Panels
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Motor Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Automation Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Logic Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Variable Frequency Drives
/Electronics & Electrical/Electronic Components & Devices/Electrical Capacitors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Distribution Boxes
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Entry Modules & Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Plugs & Sockets
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Terminal Blocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Motors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Fuses & Fuseblocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Potentiometers & Rheostats
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Circuit Breakers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Contactors
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Relays
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electronic Multiplexers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Optoelectronic Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Automotive Relays & Switches
/Electronics & Electrical/Electronic Components & Devices/Electron Tubes
/Electronics & Electrical/Electronic Components & Devices/Electronic Amplifiers
/Electronics & Electrical/Electronic Components & Devices/Electronic Attenuators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Decoders & Encoders
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Filters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Oscillators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Pressure Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Temperature Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Integrated Circuits & Chips
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Microcontrollers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Hall Effect Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Proximity Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Fiber Optic Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Stud Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Pressure Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Temperature Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Transformers
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Electronics Cooling Fans
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Heat Sinks
/Electronics & Electrical/Electronic Components & Devices/Inductors
/Electronics & Electrical/Electronic Components & Devices/Power Dividers & Splitters
/Electronics & Electrical/Electronic Components & Devices/Printed Circuit Boards
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Diodes
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Thyristors
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Transistors
/Electronics & Electrical/Electronic Components & Devices/Transceivers
/Electronics & Electrical/Electronic Consoles & Enclosures
/Electronics & Electrical/Electronic Consoles & Enclosures/Electronics Racks & Cabinet Racks
/Electronics & Electrical/Electronic Consoles & Enclosures/Junction Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Panel Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Switch Boxes
/Electronics & Electrical/Electronics Assembly & Production Machinery
/Electronics & Electrical/Generators & Alternators
/Electronics & Electrical/Generators & Alternators/Diesel Generators
/Electronics & Electrical/Generators & Alternators/Gasoline Generators
/Electronics & Electrical/Generators & Alternators/Generator Parts
/Electronics & Electrical/Generators & Alternators/Hydraulic Generators
/Electronics & Electrical/Generators & Alternators/Inverter Generators
/Electronics & Electrical/Generators & Alternators/Solar Generators
/Electronics & Electrical/Optoelectronics
/Electronics & Electrical/Optoelectronics/Opto-isolators & Couplers
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LCD Modules
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LED Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Switches
/Electronics & Electrical/Power Supplies & Accessories
/Electronics & Electrical/Power Supplies & Accessories/Inductors
/Electronics & Electrical/Power Supplies & Accessories/AC-DC Adapters
/Electronics & Electrical/Power Supplies & Accessories/Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Battery Packs
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Button Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Primary Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Rechargeable Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Solar Batteries
/Electronics & Electrical/Power Supplies & Accessories/Battery Chargers
/Electronics & Electrical/Power Supplies & Accessories/Fuel Cells
/Electronics & Electrical/Power Supplies & Accessories/Power Converters & Inverters
/Electronics & Electrical/Electronic & Electrical Test & Measurement
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Battery Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Breadboards
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Cable Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/EMF Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Electrical Current Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Frequency Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/LCR, Capacitance & Resistance Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Leak Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Metal Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Multimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Oscilloscopes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Power Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Radiation Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Rebar Locators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Signal & Pulse Generators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Sound Level Meters & Noise Dosimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Spectrum Analyzers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Stud Sensors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Test Probes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Voltage Testers
Note on C1: updated Dec 29th 2012