## Blank Template
Product name (mandatory) | Primary product photo (mandatory) | Customizable? (mandatory) | Description (mandatory) | Product category (mandatory) | Product webpage (optional) | Part number (optional) | Product specification (optional) | Additional product photo 1 (optional) | Additional product photo 2 (optional) | Additional product photo 3 (optional) | Minimum order (optional) | Unit (optional) | Pricing (optional) | Lead time (optional) | Product video url (optional) | Attribute1 name (optional) | Attribute1 value (optional) | Attribute2 name (optional) | Attribute2 value (optional) | Attribute3 name (optional) | Attribute3 value (optional) | Attribute4 name (optional) | Attribute4 value (optional) | Attribute5 name (optional) | Attribute5 value (optional) | Attribute6 name (optional) | Attribute6 value (optional) | Attribute7 name (optional) | Attribute7 value (optional) | Attribute8 name (optional) | Attribute8 value (optional) | Attribute9 name (optional) | Attribute9 value (optional) | Attribute10 name (optional) | Attribute10 value (optional)
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2620.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 24 | mm2 | 0.25 | Color | Lt. Blue | Barrel Length (B) mm | 6 | Ferrule Dimensions mm A | 10 | Ferrule Dimensions mm B | 6 | Ferrule Dimensions mm C | 1.2 | Ferrule Dimensions mm D | 2.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2621.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 24 | mm2 | 0.25 | Color | Lt. Blue | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 1.2 | Ferrule Dimensions mm D | 2.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2622.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 22 | mm2 | 0.34 | Color | Turquoise | Barrel Length (B) mm | 6 | Ferrule Dimensions mm A | 10 | Ferrule Dimensions mm B | 6 | Ferrule Dimensions mm C | 1.2 | Ferrule Dimensions mm D | 2.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2623.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 22 | mm2 | 0.34 | Color | Turquoise | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 1.2 | Ferrule Dimensions mm D | 2.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2397.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 20 | mm2 | 0.5 | Color | Orange | Barrel Length (B) mm | 6 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B | 6 | Ferrule Dimensions mm C | 1.3 | Ferrule Dimensions mm D | 2.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2201.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 20 | mm2 | 0.5 | Color | Orange | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 1.3 | Ferrule Dimensions mm D | 2.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2398.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 0.75 | Color | White | Barrel Length (B) mm | 6 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B | 6 | Ferrule Dimensions mm C | 1.5 | Ferrule Dimensions mm D | 3.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2202.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 0.75 | Color | White | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 1.5 | Ferrule Dimensions mm D | 3.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2399.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 1 | Color | Yellow | Barrel Length (B) mm | 6 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B | 6 | Ferrule Dimensions mm C | 1.7 | Ferrule Dimensions mm D | 3.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2203.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 1 | Color | Yellow | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 1.7 | Ferrule Dimensions mm D | 3.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2204.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 16 | mm2 | 1.5 | Color | Red | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 2 | Ferrule Dimensions mm D | 4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2400.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 16 | mm2 | 1.5 | Color | Red | Barrel Length (B) mm | 10 | Ferrule Dimensions mm A | 16 | Ferrule Dimensions mm B | 10 | Ferrule Dimensions mm C | 2 | Ferrule Dimensions mm D | 4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2205.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 16 | mm2 | 1.5 | Color | Red | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 24 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 2 | Ferrule Dimensions mm D | 4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2206.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 14 | mm2 | 2.5 | Color | Blue | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 2.5 | Ferrule Dimensions mm D | 4.7
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2401.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 14 | mm2 | 2.5 | Color | Blue | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 18 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 2.5 | Ferrule Dimensions mm D | 4.7
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2207.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 14 | mm2 | 2.5 | Color | Blue | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 24 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 2.5 | Ferrule Dimensions mm D | 4.7
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2208.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 12 | mm2 | 4 | Color | Gray | Barrel Length (B) mm | 10 | Ferrule Dimensions mm A | 17 | Ferrule Dimensions mm B | 10 | Ferrule Dimensions mm C | 3.2 | Ferrule Dimensions mm D | 5.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2402.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 12 | mm2 | 4 | Color | Gray | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 20 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 3.2 | Ferrule Dimensions mm D | 5.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2209.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 12 | mm2 | 4 | Color | Gray | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 26 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 3.2 | Ferrule Dimensions mm D | 5.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2210.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 10 | mm2 | 6 | Color | Black | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 20 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 3.9 | Ferrule Dimensions mm D | 6.9
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2211.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 10 | mm2 | 6 | Color | Black | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 26 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 3.9 | Ferrule Dimensions mm D | 6.9
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2212.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 8 | mm2 | 10 | Color | Ivory | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 22 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 4.9 | Ferrule Dimensions mm D | 8.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2213.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 8 | mm2 | 10 | Color | Ivory | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 28 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 4.9 | Ferrule Dimensions mm D | 8.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2214.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 6 | mm2 | 16 | Color | Green | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 24 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 6.2 | Ferrule Dimensions mm D | 9.6
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2215.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 6 | mm2 | 16 | Color | Green | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 28 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 6.2 | Ferrule Dimensions mm D | 9.6
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2267.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 4 | mm2 | 25 | Color | Brown | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 30 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 7.7 | Ferrule Dimensions mm D | 12
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2272.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 4 | mm2 | 25 | Color | Brown | Barrel Length (B) mm | 22 | Ferrule Dimensions mm A | 36 | Ferrule Dimensions mm B | 22 | Ferrule Dimensions mm C | 7.7 | Ferrule Dimensions mm D | 12
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2276.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 2 | mm2 | 35 | Color | Beige | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 30 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 8.7 | Ferrule Dimensions mm D | 13.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2390.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 2 | mm2 | 35 | Color | Beige | Barrel Length (B) mm | 25 | Ferrule Dimensions mm A | 39 | Ferrule Dimensions mm B | 25 | Ferrule Dimensions mm C | 8.7 | Ferrule Dimensions mm D | 13.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2500.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 1 | mm2 | 50 | Color | Olive | Barrel Length (B) mm | 20 | Ferrule Dimensions mm A | 36 | Ferrule Dimensions mm B | 20 | Ferrule Dimensions mm C | 10.9 | Ferrule Dimensions mm D | 16
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2786.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 25 |  |  |  | AWG | 2000-02-01 | mm2 | 70 | Color | Yellow | Barrel Length (B) mm | 20 | Ferrule Dimensions mm A | 37 | Ferrule Dimensions mm B | 20 | Ferrule Dimensions mm C | 13.4 | Ferrule Dimensions mm D | 17
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2787.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 5 |  |  |  | AWG | 2000-03-01 | mm2 | 95 | Color | Red | Barrel Length (B) mm | 25 | Ferrule Dimensions mm A | 44 | Ferrule Dimensions mm B | 25 | Ferrule Dimensions mm C | 15.4 | Ferrule Dimensions mm D | 19
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2788.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 25 |  |  |  | AWG | 2000-04-01 | mm2 | 120 | Color | Blue | Barrel Length (B) mm | 27 | Ferrule Dimensions mm A | 48 | Ferrule Dimensions mm B | 27 | Ferrule Dimensions mm C | 17.6 | Ferrule Dimensions mm D | 22.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalIndustryStandardFerrules.jpg | No | Original Industry Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2789.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules14.pdf |  |  |  |  | Std. Pack 25 |  |  |  | AWG | 250MCM | mm2 | 150 | Color | Yellow | Barrel Length (B) mm | 32 | Ferrule Dimensions mm A | 58 | Ferrule Dimensions mm B | 32 | Ferrule Dimensions mm C | 20.5 | Ferrule Dimensions mm D | 25
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2863.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 20 | mm2 | 0.5 | Color | White | Barrel Length (B) mm | 6 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B | 6 | Ferrule Dimensions mm C | 1.3 | Ferrule Dimensions mm D | 2.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2864 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 20 | mm2 | 0.5 | Color | White | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 1.3 | Ferrule Dimensions mm D | 2.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2865.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 20 | mm2 | 0.5 | Color | White | Barrel Length (B) mm | 10 | Ferrule Dimensions mm A | 16 | Ferrule Dimensions mm B | 10 | Ferrule Dimensions mm C | 1.3 | Ferrule Dimensions mm D | 2.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2866.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 0.75 | Color | Gray | Barrel Length (B) mm | 6 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B | 6 | Ferrule Dimensions mm C | 1.5 | Ferrule Dimensions mm D | 3.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2867.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 0.75 | Color | Gray | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 1.5 | Ferrule Dimensions mm D | 3.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2868.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 0.75 | Color | Gray | Barrel Length (B) mm | 10 | Ferrule Dimensions mm A | 16 | Ferrule Dimensions mm B | 10 | Ferrule Dimensions mm C | 1.5 | Ferrule Dimensions mm D | 3.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2869.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 0.75 | Color | Gray | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 18 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 1.5 | Ferrule Dimensions mm D | 3.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2870.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 1 | Color | Red | Barrel Length (B) mm | 6 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B | 6 | Ferrule Dimensions mm C | 1.7 | Ferrule Dimensions mm D | 3.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2871.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 1 | Color | Red | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 1.7 | Ferrule Dimensions mm D | 3.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2872.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 1 | Color | Red | Barrel Length (B) mm | 10 | Ferrule Dimensions mm A | 16 | Ferrule Dimensions mm B | 10 | Ferrule Dimensions mm C | 1.7 | Ferrule Dimensions mm D | 3.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2840.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 18 | mm2 | 1 | Color | Red | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 18 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 1.7 | Ferrule Dimensions mm D | 3.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2841.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 16 | mm2 | 1.5 | Color | Black | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 2 | Ferrule Dimensions mm D | 4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2842.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 16 | mm2 | 1.5 | Color | Black | Barrel Length (B) mm | 10 | Ferrule Dimensions mm A | 16 | Ferrule Dimensions mm B | 10 | Ferrule Dimensions mm C | 2 | Ferrule Dimensions mm D | 4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2843.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 16 | mm2 | 1.5 | Color | Black | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 18 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 2 | Ferrule Dimensions mm D | 4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2844.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 16 | mm2 | 1.5 | Color | Black | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 24 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 2 | Ferrule Dimensions mm D | 4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2845.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 14 | mm2 | 2.5 | Color | Blue | Barrel Length (B) mm | 8 | Ferrule Dimensions mm A | 14 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 2.5 | Ferrule Dimensions mm D | 4.7
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2846.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 14 | mm2 | 2.5 | Color | Blue | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 18 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 2.5 | Ferrule Dimensions mm D | 4.7
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2847.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 14 | mm2 | 2.5 | Color | Blue | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 24 | Ferrule Dimensions mm B | 8 | Ferrule Dimensions mm C | 2.5 | Ferrule Dimensions mm D | 4.7
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2848.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 12 | mm2 | 4 | Color | Gray | Barrel Length (B) mm | 10 | Ferrule Dimensions mm A | 17 | Ferrule Dimensions mm B | 10 | Ferrule Dimensions mm C | 3.2 | Ferrule Dimensions mm D | 5.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2849.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 12 | mm2 | 4 | Color | Gray | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 20 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 3.2 | Ferrule Dimensions mm D | 5.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2850.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 12 | mm2 | 4 | Color | Gray | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 26 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 3.2 | Ferrule Dimensions mm D | 5.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2851.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 10 | mm2 | 6 | Color | Yellow | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 20 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 3.9 | Ferrule Dimensions mm D | 6.9
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2852.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 10 | mm2 | 6 | Color | Yellow | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 26 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 3.9 | Ferrule Dimensions mm D | 6.9
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2853.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 8 | mm2 | 10 | Color | Red | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 22 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 4.9 | Ferrule Dimensions mm D | 8.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2854.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 8 | mm2 | 10 | Color | Red | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 28 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 4.9 | Ferrule Dimensions mm D | 8.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2855.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 6 | mm2 | 16 | Color | Blue | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 24 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 6.2 | Ferrule Dimensions mm D | 9.6
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2856.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 6 | mm2 | 16 | Color | Blue | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 28 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 6.2 | Ferrule Dimensions mm D | 9.6
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2857.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 4 | mm2 | 25 | Color | Yellow | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 30 | Ferrule Dimensions mm B | 30 | Ferrule Dimensions mm C | 7.7 | Ferrule Dimensions mm D | 12
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2858.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 4 | mm2 | 25 | Color | Yellow | Barrel Length (B) mm | 22 | Ferrule Dimensions mm A | 36 | Ferrule Dimensions mm B | 36 | Ferrule Dimensions mm C | 7.7 | Ferrule Dimensions mm D | 12
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2859.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 2 | mm2 | 35 | Color | Red | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 30 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 8.7 | Ferrule Dimensions mm D | 13.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2860.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 2 | mm2 | 35 | Color | Red | Barrel Length (B) mm | 25 | Ferrule Dimensions mm A | 39 | Ferrule Dimensions mm B | 25 | Ferrule Dimensions mm C | 8.7 | Ferrule Dimensions mm D | 13.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDINStandardFerrules.jpg | No | Original DIN Standard Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2861.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules15.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 1 | mm2 | 50 | Color | Blue | Barrel Length (B) mm | 20 | Ferrule Dimensions mm A | 36 | Ferrule Dimensions mm B | 20 | Ferrule Dimensions mm C | 10.6 | Ferrule Dimensions mm D | 16
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2216.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 20 | mm2 | 0.5 | Color |  | Barrel Length (A) mm | 6 | Ferrule Dimensions mm A | 6 | Ferrule Dimensions mm B (ID) | 1.3 | Ferrule Dimensions mm C | 2.1
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2217.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 18 | mm2 | 0.75 | Color |  | Barrel Length (A) mm | 6 | Ferrule Dimensions mm A | 6 | Ferrule Dimensions mm B (ID) | 1.5 | Ferrule Dimensions mm C | 2.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2218.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 18 | mm2 | 0.75 | Color |  | Barrel Length (A) mm | 10 | Ferrule Dimensions mm A | 10 | Ferrule Dimensions mm B (ID) | 1.5 | Ferrule Dimensions mm C | 2.3
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2219.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 18 | mm2 | 1 | Color |  | Barrel Length (A) mm | 6 | Ferrule Dimensions mm A | 6 | Ferrule Dimensions mm B (ID) | 1.7 | Ferrule Dimensions mm C | 2.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2220.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 18 | mm2 | 1 | Color |  | Barrel Length (A) mm | 10 | Ferrule Dimensions mm A | 10 | Ferrule Dimensions mm B (ID) | 1.7 | Ferrule Dimensions mm C | 2.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2221.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 16 | mm2 | 1.5 | Color |  | Barrel Length (A) mm | 7 | Ferrule Dimensions mm A | 7 | Ferrule Dimensions mm B (ID) | 2.3 | Ferrule Dimensions mm C | 2.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2222.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 16 | mm2 | 1.5 | Color |  | Barrel Length (A) mm | 10 | Ferrule Dimensions mm A | 10 | Ferrule Dimensions mm B (ID) | 2.3 | Ferrule Dimensions mm C | 2.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2223.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 14 | mm2 | 2.5 | Color |  | Barrel Length (A) mm | 7 | Ferrule Dimensions mm A | 7 | Ferrule Dimensions mm B (ID) | 2.5 | Ferrule Dimensions mm C | 3.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2224.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 14 | mm2 | 2.5 | Color |  | Barrel Length (A) mm | 12 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B (ID) | 2.5 | Ferrule Dimensions mm C | 3.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2225.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 12 | mm2 | 4 | Color |  | Barrel Length (A) mm | 9 | Ferrule Dimensions mm A | 9 | Ferrule Dimensions mm B (ID) | 3.2 | Ferrule Dimensions mm C | 4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2226.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 1000/100 |  |  |  | AWG | 12 | mm2 | 4 | Color |  | Barrel Length (A) mm | 12 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B (ID) | 3.2 | Ferrule Dimensions mm C | 4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2227.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 10 | mm2 | 6 | Color |  | Barrel Length (A) mm | 12 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B (ID) | 3.9 | Ferrule Dimensions mm C | 4.7
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2388.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 10 | mm2 | 6 | Color |  | Barrel Length (A) mm | 15 | Ferrule Dimensions mm A | 15 | Ferrule Dimensions mm B (ID) | 3.9 | Ferrule Dimensions mm C | 4.7
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2228.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 8 | mm2 | 10 | Color |  | Barrel Length (A) mm | 12 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B (ID) | 4.9 | Ferrule Dimensions mm C | 5.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2389.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 8 | mm2 | 10 | Color |  | Barrel Length (A) mm | 15 | Ferrule Dimensions mm A | 15 | Ferrule Dimensions mm B (ID) | 4.9 | Ferrule Dimensions mm C | 5.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2229.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 8 | c | 10 | Color |  | Barrel Length (A) mm | 18 | Ferrule Dimensions mm A | 18 | Ferrule Dimensions mm B (ID) | 4.9 | Ferrule Dimensions mm C | 5.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2391.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 6 | mm2 | 16 | Color |  | Barrel Length (A) mm | 12 | Ferrule Dimensions mm A | 12 | Ferrule Dimensions mm B (ID) | 6.2 | Ferrule Dimensions mm C | 7.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2392.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 6 | mm2 | 16 | Color |  | Barrel Length (A) mm | 15 | Ferrule Dimensions mm A | 15 | Ferrule Dimensions mm B (ID) | 6.2 | Ferrule Dimensions mm C | 7.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2393.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 6 | mm2 | 16 | Color |  | Barrel Length (A) mm | 18 | Ferrule Dimensions mm A | 18 | Ferrule Dimensions mm B (ID) | 6.2 | Ferrule Dimensions mm C | 7.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2394.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | AWG | 4 | mm2 | 25 | Color |  | Barrel Length (A) mm | 15 | Ferrule Dimensions mm A | 15 | Ferrule Dimensions mm B (ID) | 7.7 | Ferrule Dimensions mm C | 9.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2395.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 4 | mm2 | 25 | Color |  | Barrel Length (A) mm | 18 | Ferrule Dimensions mm A | 18 | Ferrule Dimensions mm B (ID) | 7.7 | Ferrule Dimensions mm C | 9.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2396.0 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 2 | mm2 | 35 | Color |  | Barrel Length (A) mm | 18 | Ferrule Dimensions mm A | 18 | Ferrule Dimensions mm B (ID) | 8.7 | Ferrule Dimensions mm C | 11
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2816 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 1 | mm2 | 50 | Color |  | Barrel Length (A) mm | 32 | Ferrule Dimensions mm A | 32 | Ferrule Dimensions mm B (ID) | 10.9 | Ferrule Dimensions mm C | 13
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2790 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 100 |  |  |  | AWG | 2000-02-01 | mm2 | 70 | Color |  | Barrel Length (A) mm | 25 | Ferrule Dimensions mm A | 25 | Ferrule Dimensions mm B (ID) | 13.3 | Ferrule Dimensions mm C | 15
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2791 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 50 |  |  |  | AWG | 2000-03-01 | mm2 | 95 | Color |  | Barrel Length (A) mm | 32 | Ferrule Dimensions mm A | 32 | Ferrule Dimensions mm B (ID) | 15.3 | Ferrule Dimensions mm C | 17
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2792 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 25 |  |  |  | AWG | 2000-04-01 | mm2 | 120 | Color |  | Barrel Length (A) mm | 32 | Ferrule Dimensions mm A | 32 | Ferrule Dimensions mm B (ID) | 17.5 | Ferrule Dimensions mm C | 19
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2793 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 25 |  |  |  | AWG | 250MCM | mm2 | 150 | Color |  | Barrel Length (A) mm | 32 | Ferrule Dimensions mm A | 32 | Ferrule Dimensions mm B (ID) | 19.5 | Ferrule Dimensions mm C | 21
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2815 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 25 |  |  |  | AWG | 350MCM | mm2 | 185 | Color |  | Barrel Length (A) mm | 32 | Ferrule Dimensions mm A | 32 | Ferrule Dimensions mm B (ID) | 21.2 | Ferrule Dimensions mm C | 23.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalUninsulatedFerrules.jpg | No | Original Uninsulated Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2815.5 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules16.pdf |  |  |  |  | Std. Pack 25 |  |  |  | AWG | 500MCM | mm2 | 240 | Color |  | Barrel Length (A) mm | 40 | Ferrule Dimensions mm A | 40 | Ferrule Dimensions mm B (ID) | 23 | Ferrule Dimensions mm C | 25
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2794 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | Wires x AWG | 2x20 | mm2 | 2x0.50 | Color | White | Barrel Length (B) mm | 14.6 | Ferrule Dimensions mm A | 8.2 | Ferrule Dimensions mm B | 8.2 | Ferrule Dimensions mm C | 1.7 | Ferrule Dimensio1ns mm D1 | 3 | Ferrule Dimensio1ns mm D2 | 5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2775 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | Wires x AWG | 2x18 | mm2 | 2x0.75 | Color | Gray | Barrel Length (B) mm | 14.6 | Ferrule Dimensions mm A | 8.2 | Ferrule Dimensions mm B | 8.2 | Ferrule Dimensions mm C | 2 | Ferrule Dimensio1ns mm D1 | 3 | Ferrule Dimensio1ns mm D2 | 5.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2795 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | Wires x AWG | 2x18 | mm2 | 2x0.75 | Color | Gray | Barrel Length (B) mm | 16.4 | Ferrule Dimensions mm A | 10 | Ferrule Dimensions mm B | 10 | Ferrule Dimensions mm C | 2 | Ferrule Dimensio1ns mm D1 | 3 | Ferrule Dimensio1ns mm D2 | 5.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2776 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | Wires x AWG | 2x18 | mm2 | 2x1 | Color | Red | Barrel Length (B) mm | 11 | Ferrule Dimensions mm A | 15.4 | Ferrule Dimensions mm B | 8.2 | Ferrule Dimensions mm C | 2.4 | Ferrule Dimensio1ns mm D1 | 3.2 | Ferrule Dimensio1ns mm D2 | 5.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2796 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | Wires x AWG | 2x18 | mm2 | 2x1 | Color | Red | Barrel Length (B) mm | 21 | Ferrule Dimensions mm A | 25.2 | Ferrule Dimensions mm B | 18 | Ferrule Dimensions mm C | 2.4 | Ferrule Dimensio1ns mm D1 | 3.2 | Ferrule Dimensio1ns mm D2 | 5.8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2777 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | Wires x AWG | 2x16 | mm2 | 2x1.5 | Color | Black | Barrel Length (B) mm | 12 | Ferrule Dimensions mm A | 15.8 | Ferrule Dimensions mm B | 8.2 | Ferrule Dimensions mm C | 2.6 | Ferrule Dimensio1ns mm D1 | 3.6 | Ferrule Dimensio1ns mm D2 | 6.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2797 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | Wires x AWG | 2x16 | mm2 | 2x1.5 | Color | Black | Barrel Length (B) mm | 16 | Ferrule Dimensions mm A | 19.6 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 2.6 | Ferrule Dimensio1ns mm D1 | 3.6 | Ferrule Dimensio1ns mm D2 | 6.5
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2778 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | Wires x AWG | 2x14 | mm2 | 2x2.5 | Color | Blue | Barrel Length (B) mm | 14 | Ferrule Dimensions mm A | 18.5 | Ferrule Dimensions mm B | 10 | Ferrule Dimensions mm C | 3.3 | Ferrule Dimensio1ns mm D1 | 4.5 | Ferrule Dimensio1ns mm D2 | 8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2798 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 500/100 |  |  |  | Wires x AWG | 2x14 | mm2 | 2x2.5 | Color | Blue | Barrel Length (B) mm | 17 | Ferrule Dimensions mm A | 20.5 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 3.3 | Ferrule Dimensio1ns mm D1 | 4.5 | Ferrule Dimensio1ns mm D2 | 8
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2799 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 100 |  |  |  | Wires x AWG | 2x12 | mm2 | 2x4 | Color | Gray | Barrel Length (B) mm | 16 | Ferrule Dimensions mm A | 22 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 3.9 | Ferrule Dimensio1ns mm D1 | 5.2 | Ferrule Dimensio1ns mm D2 | 9
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2800 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 100 |  |  |  | Wires x AWG | 2x10 | mm2 | 2x6 | Color | Yellow | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 23 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 5 | Ferrule Dimensio1ns mm D1 | 6.2 | Ferrule Dimensio1ns mm D2 | 11.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2801 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 100 |  |  |  | Wires x AWG | 2x8 | mm2 | 2x10 | Color | Red | Barrel Length (B) mm | 18 | Ferrule Dimensions mm A | 24 | Ferrule Dimensions mm B | 12 | Ferrule Dimensions mm C | 6.2 | Ferrule Dimensio1ns mm D1 | 7.6 | Ferrule Dimensio1ns mm D2 | 13.4
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/OriginalDualWireFerrules.jpg | No | Original Dual Wire Ferrules | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2802 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 100/50 |  |  |  | Wires x AWG | 2x6 | mm2 | 2x16 | Color | Blue | Barrel Length (B) mm | 20 | Ferrule Dimensions mm A | 29 | Ferrule Dimensions mm B | 16 | Ferrule Dimensions mm C | 8.9 | Ferrule Dimensio1ns mm D1 | 9.5 | Ferrule Dimensio1ns mm D2 | 17.2
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/AB1-S.jpg | No | Insulated Ferrules Assortment Box AB1-S Industry Standard | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2884.9 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 1 |  |  |  | Contains | 50 of 2201.0; 100 of 2202.0; 100 of 2399.0; 100 of 2204.0; 50 of 2206.0
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/AB2-S.jpg | No | Insulated Ferrules Assortment Box AB2-S Industry Standard | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2885.9 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 1 |  |  |  | Contains | 50 of 2208.0; 20 of 2210.0; 20 of 2212.0; 10 of 2214.0
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/ | No | Insulated Ferrules Assortment Box AB1-D DIN Standard | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2884 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 1 |  |  |  | Contains | 50 of 2864.0; 100 of 2867.0; 100 of 2871.0; 100 of 2841.0; 50 of 2845.0
Original Ferrules | http://www.altechcorp.com/GoogleAssets/OriginalFerrules/ | No | Insulated Ferrules Assortment Box AB2-D DIN Standard | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | 2885 | http://www.altechcorp.com/PDFS/Splits/OriginalFerrules17.pdf |  |  |  |  | Std. Pack 1 |  |  |  | Contains | 50 of 2848.0; 20 of 2851.0; 20 of 2853.0; 10 of 2855.0

## Category
Category Name
Electronics & Electrical
/Electronics & Electrical/Electrical Wires, Cables & Accessories
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Clamps
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Harnesses & Assemblies
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Ties
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Conduits
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Insulation
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Wire
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cords
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Wire Ducting
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Entry Modules & Connectors
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Communication Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Fiber Optic Cables
/Electronics & Electrical/Electronic Components & Devices
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Control Panels
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Motor Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Automation Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Logic Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Variable Frequency Drives
/Electronics & Electrical/Electronic Components & Devices/Electrical Capacitors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Distribution Boxes
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Entry Modules & Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Plugs & Sockets
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Terminal Blocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Motors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Fuses & Fuseblocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Potentiometers & Rheostats
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Circuit Breakers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Contactors
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Relays
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electronic Multiplexers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Optoelectronic Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Automotive Relays & Switches
/Electronics & Electrical/Electronic Components & Devices/Electron Tubes
/Electronics & Electrical/Electronic Components & Devices/Electronic Amplifiers
/Electronics & Electrical/Electronic Components & Devices/Electronic Attenuators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Decoders & Encoders
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Filters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Oscillators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Pressure Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Temperature Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Integrated Circuits & Chips
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Microcontrollers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Hall Effect Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Proximity Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Fiber Optic Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Stud Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Pressure Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Temperature Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Transformers
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Electronics Cooling Fans
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Heat Sinks
/Electronics & Electrical/Electronic Components & Devices/Inductors
/Electronics & Electrical/Electronic Components & Devices/Power Dividers & Splitters
/Electronics & Electrical/Electronic Components & Devices/Printed Circuit Boards
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Diodes
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Thyristors
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Transistors
/Electronics & Electrical/Electronic Components & Devices/Transceivers
/Electronics & Electrical/Electronic Consoles & Enclosures
/Electronics & Electrical/Electronic Consoles & Enclosures/Electronics Racks & Cabinet Racks
/Electronics & Electrical/Electronic Consoles & Enclosures/Junction Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Panel Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Switch Boxes
/Electronics & Electrical/Electronics Assembly & Production Machinery
/Electronics & Electrical/Generators & Alternators
/Electronics & Electrical/Generators & Alternators/Diesel Generators
/Electronics & Electrical/Generators & Alternators/Gasoline Generators
/Electronics & Electrical/Generators & Alternators/Generator Parts
/Electronics & Electrical/Generators & Alternators/Hydraulic Generators
/Electronics & Electrical/Generators & Alternators/Inverter Generators
/Electronics & Electrical/Generators & Alternators/Solar Generators
/Electronics & Electrical/Optoelectronics
/Electronics & Electrical/Optoelectronics/Opto-isolators & Couplers
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LCD Modules
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LED Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Switches
/Electronics & Electrical/Power Supplies & Accessories
/Electronics & Electrical/Power Supplies & Accessories/Inductors
/Electronics & Electrical/Power Supplies & Accessories/AC-DC Adapters
/Electronics & Electrical/Power Supplies & Accessories/Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Battery Packs
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Button Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Primary Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Rechargeable Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Solar Batteries
/Electronics & Electrical/Power Supplies & Accessories/Battery Chargers
/Electronics & Electrical/Power Supplies & Accessories/Fuel Cells
/Electronics & Electrical/Power Supplies & Accessories/Power Converters & Inverters
/Electronics & Electrical/Electronic & Electrical Test & Measurement
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Battery Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Breadboards
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Cable Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/EMF Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Electrical Current Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Frequency Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/LCR, Capacitance & Resistance Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Leak Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Metal Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Multimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Oscilloscopes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Power Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Radiation Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Rebar Locators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Signal & Pulse Generators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Sound Level Meters & Noise Dosimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Spectrum Analyzers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Stud Sensors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Test Probes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Voltage Testers
Note on C1: updated Dec 29th 2012