## Blank Template
Product name (mandatory) | Primary product photo (mandatory) | Customizable? (mandatory) | Description (mandatory) | Product category (mandatory) | Product webpage (optional) | Part number (optional) | Product specification (optional) | Additional product photo 1 (optional) | Additional product photo 2 (optional) | Additional product photo 3 (optional) | Minimum order (optional) | Unit (optional) | Pricing (optional) | Lead time (optional) | Product video url (optional) | Attribute1 name (optional) | Attribute1 value (optional) | Attribute2 name (optional) | Attribute2 value (optional) | Attribute3 name (optional) | Attribute3 value (optional) | Attribute4 name (optional) | Attribute4 value (optional) | Attribute5 name (optional) | Attribute5 value (optional) | Attribute6 name (optional) | Attribute6 value (optional) | Attribute7 name (optional) | Attribute7 value (optional) | Attribute8 name (optional) | Attribute8 value (optional) | Attribute9 name (optional) | Attribute9 value (optional) | Attribute10 name (optional) | Attribute10 value (optional)
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4203.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4203 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4203(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4203(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 25A | Fault Trip Current | 30mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4230.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4230 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4230(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4230(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 25A | Fault Trip Current | 300mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4250.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4250 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4250(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4250(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 25A | Fault Trip Current | 500mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4303.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4303 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4303(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4303(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 40A | Fault Trip Current | 30mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4330.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4330 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4330(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4330(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 40A | Fault Trip Current | 300mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4350.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4350 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4350(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4350(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 40A | Fault Trip Current | 500mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4403.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4403 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4403(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4403(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 40A | Fault Trip Current | 30mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4430.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4430 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4430(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4430(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 63A | Fault Trip Current | 300mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4450.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4450 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4450(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4450(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 63A | Fault Trip Current | 500mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4503.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4503 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4503(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4503(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 80A | Fault Trip Current | 30mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4530.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4530 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4530(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4530(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 80A | Fault Trip Current | 300mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4550.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4550 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4550(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4550(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 80A | Fault Trip Current | 500mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4603.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4603 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4603(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4603(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 100A | Fault Trip Current | 30mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4630.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4630 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4630(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4630(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 100A | Fault Trip Current | 300mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4650.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4650 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4650(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4650(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 100A | Fault Trip Current | 500mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4703.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4703 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4703(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4703(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 125A | Fault Trip Current | 30mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4703.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4730 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4730(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4730(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 125A | Fault Trip Current | 300mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4750.jpg | No | RCCB Earth Leakage Circuit Breakers, RP4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP4750 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4750(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP4750(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 400Y/230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 125A | Fault Trip Current | 500mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2101.jpg | No | RCCB Earth Leakage Circuit Breakers, RP2 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP2101 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2101(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2101(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 16A | Fault Trip Current | 10mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2203.jpg | No | RCCB Earth Leakage Circuit Breakers, RP2 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP2203 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2203(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2203(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 25A | Fault Trip Current | 30mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2230.jpg | No | RCCB Earth Leakage Circuit Breakers, RP2 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP2230 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2230(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2230(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 25A | Fault Trip Current | 300mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2303.jpg | No | RCCB Earth Leakage Circuit Breakers, RP2 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP2303 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2303(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2303(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 40A | Fault Trip Current | 30mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2330.jpg | No | RCCB Earth Leakage Circuit Breakers, RP2 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP2330 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2330(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2330(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 40A | Fault Trip Current | 300mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2403.jpg | No | RCCB Earth Leakage Circuit Breakers, RP2 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP2403 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2403(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2403(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 63A | Fault Trip Current | 30mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2430.jpg | No | RCCB Earth Leakage Circuit Breakers, RP2 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP2430 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2430(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2430(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 63A | Fault Trip Current | 300mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2450.jpg | No | RCCB Earth Leakage Circuit Breakers, RP2 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RP2450 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2450(drawing).jpg | http://www.altechcorp.com/GoogleAssets/RP-Series/RP2450(drawing2).jpg | [6 empty] | Voltage Rating (maximum) | 230V AC, 50Hz | Short Circuit Withstand Rating | No back-up fuse: Rated current (RC) 16/25/40A: 500A; RC 63/80A: 800A; RC 100A: 1000A; RC 125A- 1250A. With back-up fuse: 10kA; Size of fuse: (2 pole version): RC 25/40/63: 100A; (4 pole version): RC 25/40/63A: 100A; RC 80/100/125A: 125A | Fault Trip Current Caliibration | FI trips are calibrated at less than fault trip current for ensured safety (Typical trip range between 66.6-83.3% fault trip current, e.g., typical trip at 20-25mA for fault RC of 30mA) | Maximum Rated Line Current | 63A | Fault Trip Current | 500mA
RP-Series | http://www.altechcorp.com/GoogleAssets/RP-Series/RH11.jpg | No | RH11 - Auxiliary Contact and Signal Switch (switchable) (C.O./N.C.) | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/breakers/ | RH11 | http://www.altechcorp.com/PDFS/Splits/RP-Series44.pdf |  |  |  |  | Std. Pk. 1 |  |  |  | Contact Rating | 6A / 230V AC, 1A / 110V DC | Wire Size | 1-1.5mm2 (16 AWG) | Torque | max. 0.8Nm (7lb.in) | Unit Weight. | 45 grams (0.12 lb) | Width | 9mm (.354in)

## Category
Category Name
Electronics & Electrical
/Electronics & Electrical/Electrical Wires, Cables & Accessories
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Clamps
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Harnesses & Assemblies
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Ties
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Conduits
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Insulation
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Wire
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cords
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Wire Ducting
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Entry Modules & Connectors
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Communication Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Fiber Optic Cables
/Electronics & Electrical/Electronic Components & Devices
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Control Panels
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Motor Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Automation Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Logic Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Variable Frequency Drives
/Electronics & Electrical/Electronic Components & Devices/Electrical Capacitors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Distribution Boxes
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Entry Modules & Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Plugs & Sockets
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Terminal Blocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Motors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Fuses & Fuseblocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Potentiometers & Rheostats
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Circuit Breakers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Contactors
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Relays
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electronic Multiplexers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Optoelectronic Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Automotive Relays & Switches
/Electronics & Electrical/Electronic Components & Devices/Electron Tubes
/Electronics & Electrical/Electronic Components & Devices/Electronic Amplifiers
/Electronics & Electrical/Electronic Components & Devices/Electronic Attenuators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Decoders & Encoders
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Filters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Oscillators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Pressure Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Temperature Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Integrated Circuits & Chips
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Microcontrollers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Hall Effect Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Proximity Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Fiber Optic Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Stud Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Pressure Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Temperature Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Transformers
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Electronics Cooling Fans
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Heat Sinks
/Electronics & Electrical/Electronic Components & Devices/Inductors
/Electronics & Electrical/Electronic Components & Devices/Power Dividers & Splitters
/Electronics & Electrical/Electronic Components & Devices/Printed Circuit Boards
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Diodes
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Thyristors
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Transistors
/Electronics & Electrical/Electronic Components & Devices/Transceivers
/Electronics & Electrical/Electronic Consoles & Enclosures
/Electronics & Electrical/Electronic Consoles & Enclosures/Electronics Racks & Cabinet Racks
/Electronics & Electrical/Electronic Consoles & Enclosures/Junction Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Panel Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Switch Boxes
/Electronics & Electrical/Electronics Assembly & Production Machinery
/Electronics & Electrical/Generators & Alternators
/Electronics & Electrical/Generators & Alternators/Diesel Generators
/Electronics & Electrical/Generators & Alternators/Gasoline Generators
/Electronics & Electrical/Generators & Alternators/Generator Parts
/Electronics & Electrical/Generators & Alternators/Hydraulic Generators
/Electronics & Electrical/Generators & Alternators/Inverter Generators
/Electronics & Electrical/Generators & Alternators/Solar Generators
/Electronics & Electrical/Optoelectronics
/Electronics & Electrical/Optoelectronics/Opto-isolators & Couplers
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LCD Modules
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LED Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Switches
/Electronics & Electrical/Power Supplies & Accessories
/Electronics & Electrical/Power Supplies & Accessories/Inductors
/Electronics & Electrical/Power Supplies & Accessories/AC-DC Adapters
/Electronics & Electrical/Power Supplies & Accessories/Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Battery Packs
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Button Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Primary Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Rechargeable Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Solar Batteries
/Electronics & Electrical/Power Supplies & Accessories/Battery Chargers
/Electronics & Electrical/Power Supplies & Accessories/Fuel Cells
/Electronics & Electrical/Power Supplies & Accessories/Power Converters & Inverters
/Electronics & Electrical/Electronic & Electrical Test & Measurement
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Battery Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Breadboards
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Cable Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/EMF Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Electrical Current Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Frequency Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/LCR, Capacitance & Resistance Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Leak Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Metal Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Multimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Oscilloscopes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Power Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Radiation Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Rebar Locators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Signal & Pulse Generators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Sound Level Meters & Noise Dosimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Spectrum Analyzers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Stud Sensors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Test Probes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Voltage Testers
Note on C1: updated Dec 29th 2012