## Blank Template
Product name (mandatory) | Primary product photo (mandatory) | Customizable? (mandatory) | Description (mandatory) | Product category (mandatory) | Product webpage (optional) | Part number (optional) | Product specification (optional) | Additional product photo 1 (optional) | Additional product photo 2 (optional) | Additional product photo 3 (optional) | Minimum order (optional) | Unit (optional) | Pricing (optional) | Lead time (optional) | Product video url (optional) | Attribute1 name (optional) | Attribute1 value (optional) | Attribute2 name (optional) | Attribute2 value (optional) | Attribute3 name (optional) | Attribute3 value (optional) | Attribute4 name (optional) | Attribute4 value (optional) | Attribute5 name (optional) | Attribute5 value (optional) | Attribute6 name (optional) | Attribute6 value (optional) | Attribute7 name (optional) | Attribute7 value (optional) | Attribute8 name (optional) | Attribute8 value (optional) | Attribute9 name (optional) | Attribute9 value (optional) | Attribute10 name (optional) | Attribute10 value (optional)
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-4.jpg | No | Crimpit F 4 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F 4 | http://www.altechcorp.com/PDFS/Splits/Crimpers11.pdf | [8 empty] | Ferrules | 0,5 - 4 mm2 (20 - 12 AWG) | Twin Ferrules | 2 x 0.5 - 2 x 2.5 mm2 (2 x 20 - 2 x 14 AWG) | Weight | 448 g
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-6-auto.jpg | No | Crimpit F 6 Auto | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F 6 Auto | http://www.altechcorp.com/PDFS/Splits/Crimpers11.pdf | [8 empty] | Ferrules | 0,5 - 6 mm2 (20 - 10 AWG) | Twin Ferrules | 2 x 0.5 - 2 x 2.5 mm2 (2 x 20 - 2 x 14 AWG) | Weight | 426 g
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-6-gyra.jpg | No | Crimpit F 6 Gyra | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F 6 Gyra | http://www.altechcorp.com/PDFS/Splits/Crimpers11.pdf | [8 empty] | Ferrules | 0,14 - 6 mm2 (26 - 10 AWG) | Twin Ferrules | 2 x 0.5 - 2 x 4 mm2 (2 x 20 - 2 x 12 AWG) | Weight | 428 g
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-6-EN.jpg | No | Crimpit F 6 EN | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F 6 EN | http://www.altechcorp.com/PDFS/Splits/Crimpers11.pdf | [8 empty] | Ferrules | 0,25 - 6 mm2 (24 - 10 AWG) | Twin Ferrules | 2 x 0.75 - 2 x 4 mm2 (2 x 18 - 2 x 12 AWG) | Weight | 423 g
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-6-L.jpg | No | Crimpit F 6 L | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F 6 L | http://www.altechcorp.com/PDFS/Splits/Crimpers12.pdf | [8 empty] | Ferrules | 0,25 - 6 mm2 (20 - 10 AWG) | Twin Ferrules | 2 x 0.75 - 2 x 4 mm2 (2 x 18 - 2 x 12 AWG) | Weight | 335g
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-16.jpg | No | Crimpit F 16 | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F 16 | http://www.altechcorp.com/PDFS/Splits/Crimpers12.pdf | [8 empty] | Ferrules | 6 - 16 mm2 (10 - 6 AWG) | Twin Ferrules |  | Weight | 418g
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-16-L.jpg | No | Crimpit F 16 L | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F 16 L | http://www.altechcorp.com/PDFS/Splits/Crimpers12.pdf | [8 empty] | Ferrules | 6 - 16 mm2 (10 - 6 AWG) | Twin Ferrules |  | Weight | 380g
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-25-L.jpg | No | Crimpit F 25 L | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F 25 L | http://www.altechcorp.com/PDFS/Splits/Crimpers12.pdf | [8 empty] | Ferrules | 6 - 25 mm2 (10 - 4 AWG) | Twin Ferrules | 2 x 4 - 2 x 10 mm2 (2 x 12 - 2 x 8 AWG) | Weight | 540g
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-50-L.jpg | No | Crimpit F 50 L | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F 50 L | http://www.altechcorp.com/PDFS/Splits/Crimpers13.pdf | [8 empty] | Ferrules | 35 - 50 mm2 (2 - 1 AWG) | Twin Ferrules | 2 x 16 mm2 (2 x 6 AWG) | Weight | 540g
UL Recognized Crimpers | http://www.altechcorp.com/GoogleAssets/Ferrules/Crimpers/Crimpit-F-multi.jpg | No | Crimpit F Multi | /Electronics & Electrical/Electronic Components & Devices/Automation Control Components | http://www.altechcorp.com/HTML/Ferrules-A.html | Crimpit F Multi | http://www.altechcorp.com/PDFS/Splits/Crimpers13.pdf | [8 empty] | Ferrules | 0.5 - 2,5 mm2 (20 - 14 AWG) | Cross-section | 0.5 - 2,5 mm2 (20 x 14 AWG) | Weight | 260g

## Category
Category Name
Electronics & Electrical
/Electronics & Electrical/Electrical Wires, Cables & Accessories
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Clamps
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Harnesses & Assemblies
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Cable Ties
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Conduits
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Insulation
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Electrical Wire
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Cords
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Wire Ducting
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Power Entry Modules & Connectors
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Communication Cables
/Electronics & Electrical/Electrical Wires, Cables & Accessories/Fiber Optic Cables
/Electronics & Electrical/Electronic Components & Devices
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Control Panels
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Motor Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Automation Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Programmable Logic Controllers
/Electronics & Electrical/Electronic Components & Devices/Automation Control Components/Variable Frequency Drives
/Electronics & Electrical/Electronic Components & Devices/Electrical Capacitors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Electrical Terminals
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Distribution Boxes
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Entry Modules & Connectors
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Power Plugs & Sockets
/Electronics & Electrical/Electronic Components & Devices/Electrical Connectors & Terminals/Terminal Blocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Motors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Fuses & Fuseblocks
/Electronics & Electrical/Electronic Components & Devices/Electrical Resistors/Potentiometers & Rheostats
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Circuit Breakers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Contactors
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electrical Relays
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Electronic Multiplexers
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Optoelectronic Switches
/Electronics & Electrical/Electronic Components & Devices/Electrical Switches/Automotive Relays & Switches
/Electronics & Electrical/Electronic Components & Devices/Electron Tubes
/Electronics & Electrical/Electronic Components & Devices/Electronic Amplifiers
/Electronics & Electrical/Electronic Components & Devices/Electronic Attenuators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Decoders & Encoders
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Filters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Oscillators
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Pressure Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Electronic Transmitters/Temperature Transmitters
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Integrated Circuits & Chips
/Electronics & Electrical/Electronic Components & Devices/Electronic Circuits/Microcontrollers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Hall Effect Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Proximity Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Fiber Optic Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Stud Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Pressure Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Sensors & Transducers/Temperature Sensors
/Electronics & Electrical/Electronic Components & Devices/Electronic Transformers
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Electronics Cooling Fans
/Electronics & Electrical/Electronic Components & Devices/Electronics Cooling Equipment/Heat Sinks
/Electronics & Electrical/Electronic Components & Devices/Inductors
/Electronics & Electrical/Electronic Components & Devices/Power Dividers & Splitters
/Electronics & Electrical/Electronic Components & Devices/Printed Circuit Boards
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Diodes
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Thyristors
/Electronics & Electrical/Electronic Components & Devices/Semiconductor Devices/Transistors
/Electronics & Electrical/Electronic Components & Devices/Transceivers
/Electronics & Electrical/Electronic Consoles & Enclosures
/Electronics & Electrical/Electronic Consoles & Enclosures/Electronics Racks & Cabinet Racks
/Electronics & Electrical/Electronic Consoles & Enclosures/Junction Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Panel Boxes
/Electronics & Electrical/Electronic Consoles & Enclosures/Switch Boxes
/Electronics & Electrical/Electronics Assembly & Production Machinery
/Electronics & Electrical/Generators & Alternators
/Electronics & Electrical/Generators & Alternators/Diesel Generators
/Electronics & Electrical/Generators & Alternators/Gasoline Generators
/Electronics & Electrical/Generators & Alternators/Generator Parts
/Electronics & Electrical/Generators & Alternators/Hydraulic Generators
/Electronics & Electrical/Generators & Alternators/Inverter Generators
/Electronics & Electrical/Generators & Alternators/Solar Generators
/Electronics & Electrical/Optoelectronics
/Electronics & Electrical/Optoelectronics/Opto-isolators & Couplers
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LCD Modules
/Electronics & Electrical/Optoelectronics/Optoelectronic Displays/LED Displays
/Electronics & Electrical/Optoelectronics/Optoelectronic Switches
/Electronics & Electrical/Power Supplies & Accessories
/Electronics & Electrical/Power Supplies & Accessories/Inductors
/Electronics & Electrical/Power Supplies & Accessories/AC-DC Adapters
/Electronics & Electrical/Power Supplies & Accessories/Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Battery Packs
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Button Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Primary Cell Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Rechargeable Batteries
/Electronics & Electrical/Power Supplies & Accessories/Batteries/Solar Batteries
/Electronics & Electrical/Power Supplies & Accessories/Battery Chargers
/Electronics & Electrical/Power Supplies & Accessories/Fuel Cells
/Electronics & Electrical/Power Supplies & Accessories/Power Converters & Inverters
/Electronics & Electrical/Electronic & Electrical Test & Measurement
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Battery Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Breadboards
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Cable Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/EMF Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Electrical Current Testers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Frequency Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/LCR, Capacitance & Resistance Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Leak Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Metal Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Multimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Oscilloscopes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Power Meters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Radiation Detectors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Rebar Locators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Signal & Pulse Generators
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Sound Level Meters & Noise Dosimeters
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Spectrum Analyzers
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Stud Sensors
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Test Probes
/Electronics & Electrical/Electronic & Electrical Test & Measurement/Voltage Testers
Note on C1: updated Dec 29th 2012